# Tender text for PlanoSet

Installation socket for simple and rapid installation in hollow ceiling with wall thicknesses from 0.5 mm to 30 mm. Suitable for all PlanoCentro presence detectors;

# Mounting kit PlanoSet RQ

Installation set consisting of round PlanoFix E installation socket with 126 mm diameter, matching 142 x 142 mm PlanoCover cover and installation parts;

Manufacturer: thebenHTS

Type: PlanoSet RQ E..

Order no.:	907 0 736 (PlanoSet RQ EWH, white, similar to RAL 9010)

907 0 737 (PlanoSet RQ EBK, black, similar to RAL 9005)

907 0 738 (PlanoSet RQ ESR, silver, similar to RAL 9006)

# Mounting kit PlanoSet RR

Mounting kit consisting of round PlanoFix E installation socket with 126 mm diameter, PlanoCover cover with 172 mm diameter and installation parts;

Manufacturer: thebenHTS

Type: PlanoSet RR E..

Order no.:	907 0 740 (PlanoSet RR EWH, white, similar to RAL 9010)

907 0 741 (PlanoSet RR EBK, black, similar to RAL 9005)

907 0 742 (PlanoSet RR ESR, silver, similar to RAL 9006)

Unit: ST

### Accessories:

### PlanoFix E round

Round installation socket with diameter 126 mm;

Order no.: 907 0 752

### PlanoCover E..

Cover

Order no.: 907 0 744 (PlanoCover EWH 142 x 142, white, similar to RAL 9010)

907 0 745 (PlanoCover EBK 142 x 142, black, similar to RAL 9005)

907 0 746 (PlanoCover ESR 142 x 142, silver, similar to RAL 9006)

907 0 748 (PlanoCover EWH Ø172, white, similar to RAL 9010)

907 0 749 (PlanoCover EBK Ø172, black, similar to RAL 9005)

907 0 750 (PlanoCover ESR Ø172, silver, similar to RAL 9006)