Rail mounted multi-function clock generator, 0.1 seconds-100 hours (TM 345 B)

Rail mounted multifunction clock generator; width 17.5 mm; 7 ranges; all values adjustable from 0.1 seconds to 100 hours. Pulse and pause duration can be set separately. Supply and control voltage from 12 to 240 V AC/DC, 1 two way switch 5A/250 V~; transparent cover.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: TM 345 B

Order No.: 3450730

Unit: ST