CO 2 sensor with switch and analog outputs (AMUN 716 R)

CO 2 sensor for wall installation for automatic ventilation control; measuring range 0-2000 ppm CO 2; warning display of CO 2 concentration via 3 LEDs (lights), selector switch for manual or automatic mode, 2 x CO 2-controlled  switch outputs for 2-stage control with adjustable thresholds, 3 outputs 0...10 V for CO2, temperature and relative humidity, operating voltage 24 VDC SELV, wall-mounted, white 97 x 95 x 30 mm, suitable for flush-mounted sockets.

Deliver, assemble, connect up and install software

...

Make: Theben

Type: AMUN 716 R

Order no.: 7160101

Unit: ST

Accessories:

Power unit for flush-mounted installation 24 V /12 W suitable for AMUN 716 R

Order no. 907 494