EIB/KNX 6-way sensor interface binary input (TA 6 EIB/KNX)

Binary input for up to 6 channels; dimensions (37 x 37 x 10 mm); floating inputs, 4 inputs can be reconfigured to outputs for connection to LED displays ON / OFF. 8-pole cable connection, installable with conventional keys / switches in flush sockets. Functions: Disable object and 2 output objects per channel, adjustable behaviour after restoration of bus. Software functions: Switch/key, dimming, blinds, valuator.

Deliver, assemble, connect up and set up

Make: Theben

Type: TA 6 EIB/KNX

Order No.: 4969206

Unit: ST