EIB/KNX motor-driven actuators with integrated temperature controller (CHEOPS control EIB/KNX)

Actuator for continuous valve control; fully automatic valve stroke recognition; 2 inputs e.g. for window contact; presence sensor; external temperature recording; 5 LEDs to display set point adjustment or valve stroke; 2 manual keys for set point adjustment; max. valve stroke: 7.5mm; temperature control: Heating control (continuous control); 2-step heating; heating and cooling; Master-Slave operation using additional actuators (CHEOPS drive); accessories: 2 valve adapters for standard valves included in delivery; housing colour: white; key for locking (anti-vandal protection).

Deliver, assemble, connect up and set up

...

Make: Theben

Type: CHEOPS control EIB/KNX

Order No.: 7329201

Unit: ST