Rail mounted charging switch for storage heaters 4 TLE (SUD 228 II)

Rail mounted timer, approx. 20 days power reserve; width 71 mm; 24 hour program; daily charging period can be set from 0 - 9 hours; adjustable charging time and backward control in the display; 1 NO contact 8A 250 V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: SUD 228 II

Order No.: 2280577

Unit: ST