Combination sensor LUNA 131 DDC, temperature and brightness sensor (Luna 131 DDC)

Combination sensor LUNA 131 DDC, temperature and brightness sensor, 2 outputs 0-10 V DC, from 0 to 50,000 lux (3 ranges), from -30° to +70°C; operating voltage 24 VDC.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: Luna 131 DDC

Order No.: 1319700

Unit: ST