DCF77 antenna, for wall installation (EIB/KNX antenna (for TR 644 / 648 S DCF EIB)

DCF77 antenna for wall installation (IP 54); up to 5 DCF devices can be connected.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: EIB/KNX antenna (for TR 644 / 648 S DCF EIB)

Order No.: 9070271

Unit: ST