Power unit for antenna top2 RC-GPS, Rail mounted (power unit top2 GPS)

Power unit for GPS antenna; housing for rail mount, 2 TE;

Required for TR 611 top2 RC, SELELTA 171 top2 RC and LUNA top2 RC.

Install and start up.

Make: Theben

Type: Power unit top2 GPS

Order no.: 9070892

Unit: ST