SendoPro 868-A – Remote Control

Infrared remote Control for the convenient start-up of ThebenHTS presence detectors. Kompatible with PlanoCentro, compact, PräsenzLight and ECO IR C NT; rapid adjustment of parameters to change operating conditions without uninstalling detectors; transmission of individual settings or complete configuration sets to the detector; select configurations from PlanoCentro; Calling up of pre-defined value packs for typical rooms; saving and calling up user-defined parameter sets on internal memory or SD card.

Make: Theben

Type: SendoPro 868-A remote control

Order - No.: 907 0 675

Unit: ST